## Checklist
Project Checklist LEED for Homes
[5 empty] | for Homes |  | Builder Name:
Responsible Party (if different):
Home Address (Street/City/State):
Input Values: |  |  |  |  | Click here if you're experiencing problems |  |  |  | Minimum No. of Points Required:
No of Bedrooms: | [6 empty] | Floor Area (SF): |  | Certified: | 45 | Silver: | 60 | Gold: | 75 |  | Platinum: | 90
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [15 empty] | Max Points
Available
Y / Pts | No | N/A |  |  | Innovation and Design Process (ID) |  |  |  |  | (Minimum of 0 ID Points Required) | [6 empty] | 9
[5 empty] | 1.1 | Integrated Project Planning |  | Preliminary Rating | [8 empty] | Prerequisite
|  |  | @ |  | 1.2 |  |  | Integrated Project Team | [8 empty] | 1
|  |  | @ |  | 1.3 |  |  | Design Charrette | [8 empty] | 1
|  |  | @ |  | 2.1 | Quality Management for |  | Durability Planning; (Pre-Construction) | [8 empty] | Prerequisite
[5 empty] | 2.2 | Durability |  | Wet Room Measures | [8 empty] | Prerequisite
[5 empty] | 2.3 |  |  | Quality Management | [8 empty] | Prerequisite
[5 empty] | 2.4 |  |  | Third-Party Durability Inspection | [8 empty] | 3
|  |  | @ |  | 3.1 | Innovative / Regional Design |  | Provide Description and Justification for Specific Measure | [8 empty] | 1
|  |  | @ |  | 3.2 |  |  | Provide Description and Justification for Specific Measure | [8 empty] | 1
|  |  | @ |  | 3.3 |  |  | Provide Description and Justification for Specific Measure | [8 empty] | 1
|  |  | @ |  | 3.4 |  |  | Provide Description and Justification for Specific Measure | [8 empty] | 1
0 |  |  |  |  | Sub-Total
Y / Pts | No | N/A |  |  | Location and Linkages (LL) |  |  |  |  | (Minimum of 0 LL Points Required) |  |  |  |  | OR |  | 10
[5 empty] | 1 | LEED-ND Neighborhood | [8 empty] | LL2-5 |  | 10
|  |  | @ |  | 2 | Site Selection |  | Avoid Environmentally Sensitive Sites and Farmland | [6 empty] | LL1 |  | 2
[5 empty] | 3.1 | Preferred Locations |  | Select an Edge Development Site | [6 empty] | LL1 |  | 1
[5 empty] | 3.2 |  | OR | Select an Infill Site | [6 empty] | LL1 |  | 2
[5 empty] | 3.3 |  |  | Select a Previously Developed Site | [6 empty] | LL1 |  | 1
[5 empty] | 4 | Infrastructure |  | Site within 1/2 Mile of Existing Water and Sewer | [6 empty] | LL1 |  | 1
[5 empty] | 5.1 | Community Resources |  | Basic Community Resources / Public Transportation | [6 empty] | LL1 |  | 1
[5 empty] | 5.2 | & Public Transit | OR | Extensive Community Resources / Public Transportation | [6 empty] | LL1 |  | 2
[5 empty] | 5.3 |  | OR | Outstanding Community Resources / Public Transportation | [6 empty] | LL1 |  | 3
[5 empty] | 6 | Access to Open Space |  | Publicly Accessible Green Spaces | [6 empty] | LL1 |  | 1
0 |  |  |  |  | Sub-Total
Y / Pts | No | N/A |  |  | Sustainable Sites (SS) |  |  |  |  | (Minimum of 5 SS Points Required) |  |  |  |  | OR |  | 21
[5 empty] | 1.1 | Site Stewardship |  | Erosion Controls (During Construction) | [8 empty] | Prerequisite
[5 empty] | 1.2 |  |  | Minimize Disturbed Area of Site | [8 empty] | 1
|  |  | @ |  | 2.1 | Landscaping |  | No Invasive Plants | [8 empty] | Prerequisite
|  |  | @ |  | 2.2 |  |  | Basic Landscaping Design | [8 empty] | 2
|  |  | @ |  | 2.3 |  |  | Limit Turf | [8 empty] | 3
|  |  | @ |  | 2.4 |  |  | Drought Tolerant Plants | [8 empty] | 2
|  |  | @ |  | 3 | Shading of Hardscapes |  | Locate and Plant Trees to Shade Hardscapes | [8 empty] | 1
|  |  | @ |  | 4.1 | Surface Water Management |  | Design Permeable Site | [8 empty] | 4
|  |  | @ |  | 4.2 |  |  | Permanent Erosion Controls / Professional Design of Erosion Control | [8 empty] | 2
[5 empty] | 5 | Non-Toxic Pest Control |  | Select Insect and Pest Control Alternatives from List | [8 empty] | 2
|  |  | @ |  | 6.1 | Compact Development |  | Average Housing Density ≥ 7 Units / Acre | [6 empty] | LL1 |  | 2
|  |  | @ |  | 6.1 |  | OR | Average Housing Density ≥ 10 Units / Acre | [6 empty] | LL1 |  | 3
|  |  | @ |  | 6.3 |  | OR | Average Housing Density ≥ 20 Units / Acre | [6 empty] | LL1 |  | 4
0 |  |  |  |  | Sub-Total
Y / Pts | No | N/A |  |  | Water Efficiency (WE) |  |  |  |  | (Minimum of 3 WE Points Required) |  |  |  |  | OR |  | 15
|  |  | @ |  | 1.1 | Water Reuse |  | Rainwater Harvesting System | [8 empty] | 4
|  |  | @ |  | 1.2 |  |  | Grey Water Re-Use System | [8 empty] | 1
|  |  | @ |  | 2.1 | Irrigation System |  | Select High Efficiency Measures from List | [8 empty] | 3
[5 empty] | 2.2 |  |  | Third Party Verification | [8 empty] | 1
|  |  | @ |  | 2.3 |  | OR | Install Landscape Designed by Licensed or Certified Professional | [6 empty] | WE 2.2 |  | 4
[5 empty] | 3.1 | Indoor Water Use |  | High Efficiency Fixtures (Toilets, Showers, and Faucets) | [8 empty] | 3
[5 empty] | 3.2 |  | OR | Very High Efficiency Fixtures (Toilets, Showers, and Faucets) | [6 empty] | WE 3.1 |  | 6
0 |  |  |  |  | Sub-Total
Project Checklist (cont'd)
[7 empty] | HERS Index Value Achieved: |  |  |  |  | EA 1.2 Pts Achieved: |  |  | 0
IECC Climate Zone:
Y / Pts | No | N/A |  |  | Energy and Atmosphere (EA) |  |  |  |  | (Minimum of 0 EA Points Required) |  |  |  |  | OR |  | 38
[5 empty] | 1.1 | ENERGY STAR Home |  | Meets Performance Requirements of ENERGY STAR for Homes | [8 empty] | Prerequisite
[5 empty] | 1.2 |  |  | Exceeds Performance of ENERGY STAR for Homes | [6 empty] | EA 2-10 |  | 34
|  |  | @ |  | 7.1 | Water Heating |  | Improved Hot Water Distribution System | [8 empty] | 2
[5 empty] | 7.2 |  |  | Pipe Insulation | [8 empty] | 1
|  |  | @ |  | 11 | Refrigerant Management |  | Minimize Ozone Depletion and Global Warming Contributions | [8 empty] | 1
0 |  |  |  | Sub-Total (or Sub-Total from Adendum A - Prescriptive EA Credits)
Y / Pts | No | N/A |  |  | Materials and Resources (MR) |  |  |  |  | (Minimum of 2 MR Points Required) | [6 empty] | 14
|  |  | @ |  | 1.1 | Material Efficient Framing |  | Overall Waste Factor for Framing Order Shall be No More than 10%. | [8 empty] | Prerequisite
[5 empty] | 1.2 |  |  | Advanced Framing Techniques | [8 empty] | 3
[5 empty] | 1.3 |  | OR | Structurally Insulated Panels | [6 empty] | MR 1.2 |  | 2
|  |  | @ |  | 2.1 | Environmentally Preferable |  | Tropical Woods, if Used, Must be FSC | [8 empty] | Prerequisite
|  |  | @ |  | 2.2 | Products |  | Select Environmentally Preferable Products from List | [8 empty] | 8
|  |  | @ |  | 3.1 | Waste Management |  | Document Overall Rate of Diversion | [8 empty] | Prerequisite
[5 empty] | 3.2 |  |  | Reduce Waste Sent to Landfill by 25% to 100% | [8 empty] | 3
0 |  |  |  |  | Sub-Total
Y / Pts | No | N/A |  |  | Indoor Environmental Quality (IEQ) |  |  |  |  | (Minimum of 6 IEQ Points Required) |  |  |  |  | OR |  | 20
[5 empty] | 1 | ENERGY STAR with IAP |  | Meets ENERGY STAR w/ Indoor Air Package (IAP) | [6 empty] | IEQ2-10 |  | 11
[5 empty] | 2.1 | Combustion Venting |  | Space Heating & DHW Equip w/ Closed/Power-Exhaust | [6 empty] | IEQ 1 |  | Prerequisite
[5 empty] | 2.2 |  |  | Install High Performance Fireplace | [6 empty] | IEQ 1 |  | 2
|  |  | @ |  | 3 | Moisture Control |  | Analyze Moisture Loads AND Install Central System (if Needed) | [6 empty] | IEQ 1 |  | 1
Analyze Moisture Loads AND
|  |  | @ |  | 4.1 | Outdoor Air Ventilation |  | Meets ASHRAE Std 62.2 | [6 empty] | IEQ 1 |  | Prerequisite
[5 empty] | 4.2 |  |  | Dedicated Outdoor Air System (w/ Heat Recovery) | [6 empty] | IEQ 1 |  | 2
[5 empty] | 4.3 |  |  | Third-Party Testing of Outdoor Air Flow Rate into Home | [8 empty] | 1
|  |  | @ |  | 5.1 | Local Exhaust |  | Meets ASHRAE Std 62.2 | [6 empty] | IEQ 1 |  | Prerequisite
[5 empty] | 5.2 |  |  | Timer / Automatic Controls for Bathroom Exhaust Fans | [6 empty] | IEQ 1 |  | 1
[5 empty] | 5.3 |  |  | Third-Party Testing of Exhaust Air Flow Rate Out of Home | [8 empty] | 1
|  |  | @ |  | 6.1 | Supply Air Distribution |  | Perform Duct Design Calculations | [6 empty] | IEQ 1 |  | Prerequisite
[5 empty] | 6.2 |  |  | Third-Party Testing of Supply Air Flow into Each Room in Home | [8 empty] | 2
[5 empty] | 7.1 | Supply Air Filtering |  | ≥ 8 MERV Filters, w/ Adequate System Air Flow | [6 empty] | IEQ 1 |  | Prerequisite
[5 empty] | 7.2 |  | OR | ≥ 10 MERV Filters, w/ Adequate System Air Flow | [8 empty] | 1
[5 empty] | 7.3 |  | OR | ≥ 13 MERV Filters, w/ Adequate System Air Flow | [8 empty] | 2
[5 empty] | 8.1 | Contaminant Control |  | Seal-Off Ducts During Construction | [6 empty] | IEQ 1 |  | 1
[5 empty] | 8.2 |  |  | Permanent Walk-Off Mats OR Shoe Storage OR Central Vacuum | [8 empty] | 2
|  |  | @ |  | 8.3 |  |  | Flush Home Continuously for 1 Week with Windows Open | [8 empty] | 1
|  |  | @ |  | 9.1 | Radon Protection |  | Install Radon Resistant Construction if Home is in EPA Zone 1 | [6 empty] | IEQ 1 |  | Prerequisite
|  |  | @ |  | 9.2 |  |  | Install Radon Resistant Construction if Home is not in EPA Zone 1 | [6 empty] | IEQ 1 |  | 1
[5 empty] | 10.1 | Garage Pollutant Protection |  | No Air Handling Equipment OR Return Ducts in Garage | [6 empty] | IEQ 1 |  | Prerequisite
[5 empty] | 10.2 |  |  | Tightly Seal Shared Surfaces between Garage and Home | [6 empty] | IEQ 1 |  | 2
[5 empty] | 10.3 |  |  | Exhaust Fan in Garage | [8 empty] | 1
[5 empty] | 10.4 |  | OR | Detached Garage or No Garage | [6 empty] | IEQ 1 |  | 3
0 |  |  |  |  | Sub-Total
Y / Pts | No | N/A |  |  | Awareness and Education (AE) |  |  |  |  | (Minimum of 0 AE Points Required) | [6 empty] | 3
|  |  | @ |  | 1.1 | Education for Homeowner |  | Basic Occupant's Manual and Walkthrough of LEED Home | [8 empty] | Prerequisite
|  |  | @ |  | 1.2 | and/or Tenants |  | Comprehensive Occupant's Manual and Multiple Walkthroughs / Trainings | [8 empty] | 1
|  |  | @ |  | 1.3 |  |  | Public Awareness of LEED Home | [8 empty] | 1
|  |  | @ |  | 2.1 | Education for Building Mgrs |  | Basic Building Manager's Manual and Walkthrough of LEED Home | [8 empty] | 1
0 |  |  |  |  | Sub-Total
0 |  |  |  | Project Totals (pre-certification estimates) | [7 empty] | Estimated Performance Tier: |  |  |  |  | 130
Project Checklist, Addendum A
[5 empty] | for Homes |  | Prescriptive Approach for Energy and Atmosphere (EA) Credits
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [15 empty] | Max Points
Available
Y / Pts | No | N/A |  |  | Energy and Atmosphere (EA) |  |  |  |  | (Minimum of 0 EA Points Required) |  |  |  |  | OR |  | 38
[5 empty] | 2.1 | Insulation |  | Third-Party Inspection of Insulation, At Least HERS Grade II | [6 empty] | EA 1 |  | Prerequisite
|  |  | @ |  | 2.2 |  |  | Third-Party Inspection of Insulation, Grade I AND 5% above code | [6 empty] | EA 1 |  | 2
*
[5 empty] | 3.1 | Air Infiltration |  | Third-Party Envelope Air Leakage Tested </= 7.0 ACH50 (CZ 1-2) | [6 empty] | EA 1 |  | Prerequisite
[5 empty] | 3.2 |  |  | Third-Party Envelope Air Leakage Tested </= 5.0 ACH50 (CZ 1-2) | [6 empty] | EA 1 |  | 2
[5 empty] | 3.3 |  | OR | Third-Party Envelope Air Leakage Tested </= 3.0 ACH50 | [6 empty] | EA 1 |  | 3
*
[5 empty] | 4.1 | Windows |  | Windows Meet ENERGY STAR for Windows (See Table) | [6 empty] | EA 1 |  | Prerequisite
[5 empty] | 4.2 |  |  | Windows Exceed ENERGY STAR for Windows (See Table) | [6 empty] | EA 1 |  | 2
[5 empty] | 4.3 |  | OR | Windows Exceed ENERGY STAR for Windows (See Table) | [6 empty] | EA 1 |  | 3
*
[5 empty] | 5.1 | Duct Tightness |  | Third-Party Duct Leakage Tested </= 4.0 CFM25 / 100 SF to Outside | [6 empty] | EA 1 |  | Prerequisite
[5 empty] | 5.2 |  |  | Third-Party Duct Leakage Tested </= 3.0 CFM25 / 100 SF to Outside | [6 empty] | EA 1 |  | 2
[5 empty] | 5.3 |  | OR | Third-Party Duct Leakage Tested </= 1.0 CFM25 / 100 SF to Outside | [6 empty] | EA 1 |  | 3
*
|  |  | @ |  | 6.1 | Space Heating and Cooling |  | Meets ENERGY STAR for HVAC w/ Manual J & refrigerant charge test | [6 empty] | EA 1 |  | Prerequisite
[5 empty] | 6.2 |  |  | HVAC is Better than ENERGY STAR | [6 empty] | EA 1 |  | 2
[5 empty] | 6.3 |  | OR | HVAC Substantially Exceeds ENERGY STAR | [6 empty] | EA 1 |  | 4
*
|  |  | @ |  | 7.1 | Water Heating |  | Improved Hot Water Distribution System | [8 empty] | 2
[5 empty] | 7.2 |  |  | Pipe Insulation | [8 empty] | 1
[5 empty] | 7.3 | Water Heating |  | Improved Water Heating Equipment | [6 empty] | EA 1 |  | 3
[5 empty] | 8.1 | Lighting |  | Install at Least Three ENERGY STAR labeled Light Fixtures (or CFLS) | [6 empty] | EA 1 |  | Prerequisite
[5 empty] | 8.2 |  |  | Energy Efficient Fixtures and Controls | [6 empty] | EA 1 |  | 2
|  |  | @ |  | 8.3 |  | OR | ENERGY STAR Advanced Lighting Package | [6 empty] | EA 1 |  | 3
[5 empty] | 9.1 | Appliances |  | Select Appliances from List | [6 empty] | EA 1 |  | 2
[5 empty] | 9.2 |  |  | Very Efficient Clothes Washer (MEF > 1.8, AND WF< 5.5) | [6 empty] | EA 1 |  | 1
|  |  | @ |  | 10 | Renewable Energy |  | Renewable Electric Generation System (1 Point / 5% Reduction) | [6 empty] | EA 1 |  | 10
|  |  | @ |  | 11 | Refrigerant Management |  | Minimize Ozone Depletion and Global Warming Contributions | [8 empty] | 1
0 |  |  |  |  | Sub-Total
By affixing my signature below, the undersigned does hereby declare and affirm to the USGBC that the LEED for Homes requirements, as specified in the LEED for Homes Rating System, have been met for the indicated credits and will, if audited, provide the necessary supporting documents.
[6 empty] | Responsible Party's Name | [5 empty] | Company
[6 empty] | Signature | [5 empty] | Date
By affixing my signature below, the undersigned does hereby declare and affirm to the USGBC that the required inspections and performance testing for the LEED for Homes requirements, as specified in the LEED for Homes Rating System, have been completed, and will provide the project documentation file, if requested.
[6 empty] | Rater's Name | [5 empty] | Company
[6 empty] | Signature | [5 empty] | Date
By affixing my signature below, the undersigned does hereby declare and affirm to the USGBC that the required inspections and performance testing for the LEED for Homes requirements, as specified in the LEED for Homes Rating System, have been completed, and will provide the project documentation file, if requested.
[6 empty] | Provider's Name | [5 empty] | Company
[6 empty] | Signature | [5 empty] | Date
Note on F8: The pull-down menus in this checklist require that macros be allowed. If you are unable to use the pull-down menus, check the security settings on Excel. ==> select 'Tools' pull-down menu ==> select 'Options' ==> select 'Security' tab ==> click on 'Macro Security' ==> click on 'Medium'

## Expanded Checklist
Expanded Project Checklist Version 1.11
|  |  | for Homes |  |  | Builder Name:
Responsible Party (if different):
Home Address (Street/City/State):
Input Values: |  |  | Click here if you're experiencing problems |  |  |  |  | Minimum No. of Points Required:
No of Bedrooms: | [5 empty] | Floor Area (SF): |  | Certified: | 45 | Silver: | 60 | Gold: | 75 | Platinum: | 90
|  |  | Project Total: |  | 0 |  |  | Performance Tier Achieved: | Platinum
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Innovation and Design Process (ID) | [6 empty] | (Minimum of 0 ID Points Required) |  |  |  |  | 0 | 9
| Integrated Project |  |  |  | 1.1 | Preliminary Rating | [7 empty] | Y/N | Prerequisite | 1.1
| Planning | [5 empty] | Target performance tier: | .
|  |  |  | @ | 1.2 | Integrated Project Team (meet all of the following) | [7 empty] | 0 | 1 | 1.2
|  |  |  | @ | 1.3 | Design Charrette | [7 empty] | 0 | 1 | 1.3
| Quality Management |  |  | @ | 2.1 | Pre-Construction Durability Planning (meet all of the following) | [7 empty] | Y/N | Prerequisite | 2.1
for Durability
[5 empty] | 2.2 | Wet Room Measures (meet all of the following) | [7 empty] | Y/N | Prerequisite | 2.2
[5 empty] | 2.3 | Quality Management | [7 empty] | Y/N | Prerequisite | 2.3
[5 empty] | 2.4 | Third-Party Durability Inspection (meet all of the following) | [7 empty] | 0 | 3 | 2.4
| Innovative / Regional |  |  | @ | 3.1 | Approved ID Request name and identification #: . |  |  | . |  |  |  |  | 0 | 1 | 3.1
| Design |  |  | @ | 3.2 | Approved ID Request name and identification #: . |  |  | . |  |  |  |  | 0 | 1 | 3.2
|  |  |  | @ | 3.3 | Approved ID Request name and identification #: . |  |  | . |  |  |  |  | 0 | 1 | 3.3
|  |  |  | @ | 3.4 | Approved ID Request name and identification #: . |  |  | . |  |  |  |  | 0 | 1 | 3.4
|  | Location and Linkages (LL) | [6 empty] | (Minimum of 0 LL Points Required) |  |  |  |  | 0 | 10
| LEED-ND |  |  |  | 1 | LEED-ND Neighborhood | [7 empty] | 0 | 10 | 1
| Site Selection |  |  | @ | 2 | Site Selection (meet all of the following) | [7 empty] | 0 | 2 | 2
| Preferred Locations |  |  |  | 3.1 | Select Edge Development Site | [7 empty] | 0 | 1 | 3.1
[5 empty] | 3.2 | OR Select Infill Site | [7 empty] | 0 | 2 | 3.2
[5 empty] | 3.3 | Select Previously Developed Site | [7 empty] | 0 | 1 | 3.3
| Infrastructure |  |  |  | 4 | Site within 1/2 Mile of Existing Water and Sewer | [7 empty] | 0 | 1 | 4
| Community Resources |  |  |  | 5.1 | Basic Community Resources (meet one of the following) | [7 empty] | 0 | 1 | 5.1
& Public Transit
[5 empty] | 5.2 | Extensive Community Resources (meet one of the following) | [7 empty] | 0 | 2 | 5.2
[5 empty] | 5.3 | Outstanding Community Resources (meet one of the following) | [7 empty] | 0 | 3 | 5.3
| Access to Open Space |  |  |  | 6 | Within 1/2 Mile of Publicly Accessible Green Spaces At Least 3/4 acre in size | [7 empty] | 0 | 1 | 6
|  |  | for Homes |  |  | Project Checklist, Version 1.11 (cont'd)
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Sustainable Sites (SS) | [6 empty] | (Minimum of 5 SS Points Required) |  |  |  |  | 0 | 21
| Site Stewardship |  |  |  | 1.1 | Erosion Controls During Construction (meet all of the following) | [7 empty] | Y/N | Prerequisite | 1.1
[5 empty] | 1.2 | Minimize Disturbed Area of Site (meet all of the following) | [7 empty] | 0 | 1 | 1.2
| Landscaping |  |  | @ | 2.1 | No Invasive Plants | [7 empty] | Y/N | Prerequisite | 2.1
|  |  |  | @ | 2.2 | Basic Landscaping Design (meet all of the following) | [7 empty] | 0 | 2 | 2.2
|  |  |  | @ | 2.3 | Limit Turf | [7 empty] | 0 | 3 | 2.3
[7 empty] | % of landscaped area that is turf: |  | . | %
|  |  |  | @ | 2.4 | Drought Tolerant Plants | [7 empty] | 0 | 2 | 2.4
[7 empty] | % of plants that are drought tolerant: |  | . | %
[7 empty] | Calculated plant water budget: |  | . | gallons / sf /year
| Shading of |  |  | @ | 3 | Locate and Plant Trees to Shade Hardscapes (meet one of the following) | [7 empty] | 0 | 1 | 3
Hardscapes
| Surface Water |  |  | @ | 4.1 | Design Permeable Sites | [7 empty] | 0 | 4 | 4.1
| Management | [5 empty] | % of site with vegetative landscape: |  |  |  |  | . | %
[7 empty] | % of site with permeable paving: |  |  |  |  | . | %
[7 empty] | % of site that is impermeable with designed infiltration features |  |  |  |  | . | %
[5 empty] | 4.2 | Design and Install Permanent Erosion Controls (meet any of the following, see rating system for points) | [7 empty] | 0 | 2 | 4.2
|  |  |  | @ |  | Professional Design for Erosion Control
| Non-Toxic Pest |  |  |  | 5 | Select Insect and Pest Control Alternatives from List (meet any of the following, 1/2 pt each) | [7 empty] | 0 | 2 | 5
Control
| Compact |  |  | @ | 6 | High Housing Density | [7 empty] | 0 | 4 | 6
| Development | [5 empty] | Number of units |  | units
[7 empty] | Number of acres |  | acres
[7 empty] | Average housing density: |  | units per acre
|  |  | for Homes |  |  | Project Checklist, Version 1.11 (cont'd)
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Water Efficiency (WE) | [6 empty] | (Minimum of 3 WE Points Required) |  |  |  |  | 0 | 15
| Water Reuse |  |  | @ | 1.1 | Rainwater Harvesting System | [7 empty] | 0 | 4 | 1.1
[7 empty] | System size |  | . | % of roof area
[7 empty] | Application (indoor / outdoor / both): |  | .
|  |  |  | @ | 1.2 | Grey Water Re-Use System | [7 empty] | 0 | 1 | 1.2
| Irrigation System |  |  | @ | 2.1 | Select High Efficiency Measures from List (meet any of the following, 1 pt each) | [7 empty] | 0 | 3 | 2.1
[5 empty] | 2.2 | AND/OR Third Party Inspection of Irrigation System | [7 empty] | 0 | 1 | 2.2
|  |  |  | @ | 2.3 | OR Install Landscape Designed by Licensed or Certified Professional that Needs no Irrigation | [7 empty] | 0 | 4 | 2.3
| Indoor Water Use |  |  |  | 3.1 | High Efficiency Fixtures (meet any of the following, 1 pt each) | [7 empty] | 0 | 3 | 3.1
[5 empty] | 3.2 | OR Very High Efficiency Fixtures (meet any of the following, 2 pts each) | [7 empty] | 0 | 6 | 3.2
|  | Energy and Atmosphere (EA) | [6 empty] | (Minimum of 0 EA Points Required) |  |  |  |  | 0 | 38
| ENERGY STAR Home |  |  |  | 1.1 | Meets Performance Requirements of ENERGY STAR for Homes with Third-Party Testing | [7 empty] | Y/N | Prerequisite | 1.1
[5 empty] | 1.2 | Exceeds Performance of ENERGY STAR for Homes | [7 empty] | 0 | 34 | 1.2
IECC Climate Zone:
HERS Index Value Achieved:
| Water Heating |  |  | @ | 7.1 | Improved Hot Water Distribution System (meet one of the following) | [7 empty] | 0 | 2 | 7.1
[5 empty] | 7.2 | Pipe Insulation | [7 empty] | 0 | 1 | 7.2
| Refrigerant |  |  | @ | 11 | Minimize Ozone Depletion and Global Warming Contributions (meet one of the following) | [7 empty] | 0 | 1 | 11
Management
|  |  | for Homes |  |  | Project Checklist, Version 1.11 (cont'd)
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Materials and Resources (MR) | [6 empty] | (Minimum of 2 MR Points Required) |  |  |  |  | 0 | 14
| Material Efficient |  |  | @ | 1.1 | Overall Waste Factor for Framing Order Shall be No More than 10%. | [7 empty] | Y/N | Prerequisite | 1.1
| Framing | [5 empty] | Overall waste factor: | . | %
[5 empty] | 1.2 | Advanced Framing Techniques (meet any of the following, see below for points) | [7 empty] | 0 | 3 | 1.2
[5 empty] | 1.3 | OR Structurally Insulated Panels | [7 empty] | 0 | 2 | 1.3
| Environmentally |  |  | @ | 2.1 | Tropical Woods, if Used, Must be FSC (meet all of the following) | [7 empty] | Y/N | Prerequisite | 2.1
Preferable Products
|  |  |  | @ | 2.2 | Select Environmentally Preferable Products from List (meet any of the following, 1/2 point each) | [7 empty] | 0 | 8 | 2.2
[7 empty] | Assembly / component |  | EPP Specs |  | Emissions Specs |  | Local
Exterior wall / framing
Exterior wall / siding or masonry
Floor / flooring
Floor / carpet
Floor / framing
Foundation / aggregate
Foundation / cement
Interior wall / framing
Interior wall and ceilings / gypsum board
Interior wall, ceilings and millwork / paint
Landscape / decking or patio
Other / cabinets
Other / counters
Other / doors
Other / trim
Other / adhesives & sealants
Other / windows
Roof / framing
Roof / roofing
Roof and floor and wall / insulation
Roof, floor and wall (2 of 3) / sheathing
| Waste Management |  |  | @ | 3.1 | Waste Management Planning | [7 empty] | Y/N | Prerequisite | 3.1
[7 empty] | Diversion rate for construction waste: |  |  | . | %
[7 empty] | Diversion rate for land clearing or demo. waste: |  |  | . | %
[5 empty] | 3.2 | Waste Reduction | [7 empty] | 0 | 3 | 3.2
[7 empty] | Reduced waste by weight: |  | . | lbs / sf of floor area
[7 empty] | Reduced waste, by volume: |  | . | cubic yards / sf of floor area
[7 empty] | Diversion rate for construction waste: |  | . | %
|  |  | for Homes |  |  | Project Checklist, Version 1.11 (cont'd)
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Indoor Environmental Quality (IEQ) | [6 empty] | (Minimum of 6 IEQ Points Required) |  |  |  |  | 0 | 20
| ENERGY STAR with IAP |  |  |  | 1 | Meets ENERGY STAR w/ Indoor Air Package (IAP) | [7 empty] | 0 | 11 | 1
| Combustion Venting |  |  |  | 2.1 | Space Heating & DHW Equip w/ Closed/Power-Exhaust (meet all appropriate, see rating system) | [7 empty] | 0 | Prerequisite | 2.1
[5 empty] | 2.2 | Install High Performance Fireplace (meet any of the following, as appropriate, see rating system) | [7 empty] | 0 | 2 | 2.2
| Moisture Control |  |  | @ | 3 | Moisture Load Analysis and Mitigation (meet all of the following, as appropriate) | [7 empty] | 0 | 1 | 3
| Outdoor Air |  |  | @ | 4.1 | Basic Outdoor Air Ventilation Designed to ASHRAE Std 62.2 (meet all of the following, as appropriate) | [7 empty] | Y/N | Prerequisite | 4.1
| Ventilation | [5 empty] | Equip.type (ducted / non-ducted): |  | .
[7 empty] | Min. required ventilation air flow: |  | . | CFM
[5 empty] | 4.2 | Enhanced Outdoor Air Ventilation w/ Heat Recovery (meet all of the following, as appropriate) | [7 empty] | 0 | 2 | 4.2
[5 empty] | 4.3 | Third-Party Testing of Outdoor Air Flow Rate into Home | [7 empty] | 0 | 1 | 4.3
[7 empty] | Flow rate of outdoor air into home: |  | . | CFM
| Local Exhaust |  |  | @ | 5.1 | Meets ASHRAE Std 62.2 (meet all of the following) | [7 empty] | Y/N | Prerequisite | 5.1
[5 empty] | 5.2 | Timer / Automatic Controls for Bathroom Exhaust Fans (meet one of the following) | [7 empty] | 0 | 1 | 5.2
[5 empty] | 5.3 | Third-Party Testing of Exhaust Air Flow Rate Out of Home | [7 empty] | 0 | 1 | 5.3
[7 empty] | Exhaust air flow rates: | Kitchen: | . | CFM |  | . | CFM
[8 empty] | Bathrooms: | . | CFM |  | . | CFM
[9 empty] | . | CFM |  | . | CFM
[9 empty] | . | CFM |  | . | CFM
| Supply Air |  |  | @ | 6.1 | Perform Duct Design Calculations (meet all of the following, as appropriate) | [7 empty] | Y/N | Prerequisite | 6.1
Distribution
[5 empty] | 6.2 | Third-Party Testing of Supply Air Flow into Each Room in Home | [7 empty] | 0 | 2 | 6.2
Ducted air flow rates within 15% or 10 CFM of design
[7 empty] | . | % / CFM | . | % / CFM |  | . | % / CFM
[7 empty] | . | % / CFM | . | % / CFM |  | . | % / CFM
[7 empty] | . | % / CFM | . | % / CFM |  | . | % / CFM
|  |  | for Homes |  |  | Project Checklist, Version 1.11 (cont'd)
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Indoor Environmental Quality (IEQ) continued | [6 empty] | (Minimum of 6 IEQ Points Required) |  |  |  |  | 0 | 20
| Supply Air Filtering |  |  |  | 7.1 | Install Filters of MERV 8 or better, w/ Adequate System Air Flow | [7 empty] | Y/N | Prerequisite | 7.1
[7 empty] | MERV filter level: | .
[5 empty] | 7.2 | Install Filters of MERV 10 or better, w/ Adequate System Air Flow | [7 empty] | 0 | 1 | 7.2
[5 empty] | 7.3 | Install Filters of MERV 13 or better, w/ Adequate System Air Flow | [7 empty] | 0 | 2 | 7.3
| Contaminant Control |  |  |  | 8.1 | Seal-Off Ducts During Construction | [7 empty] | 0 | 1 | 8.1
[5 empty] | 8.2 | Indoor Contaminant Control (meet any of the following, 1 pt each) | [7 empty] | 0 | 2 | 8.2
|  |  |  | @ | 8.3 | Flush Home Continuously for 1 Week with Windows Open | [7 empty] | 0 | 1 | 8.3
| Radon Protection |  |  | @ | 9.1 | Install Radon Resistant Construction if Home is in EPA Radon Zone 1 | [7 empty] | Y/N | Prerequisite | 9.1
[7 empty] | EPA Radon Zone: | .
|  |  |  | @ | 9.2 | Install Radon Resistant Construction if Home is not in EPA Zone 1 | [7 empty] | 0 | 1 | 9.2
| Garage Pollutant |  |  |  | 10.1 | No HVAC in Garage (meet all of the following) | [7 empty] | Y/N | Prerequisite | 10.1
Protection
[5 empty] | 10.2 | Minimize Polllutants from Garage (meet all of the following) | [7 empty] | 0 | 2 | 10.2
[5 empty] | 10.3 | AND/OR Exhaust Fan in Garage (meet all of the following) | [7 empty] | 0 | 1 | 10.3
[5 empty] | 10.4 | OR Detached Garage or No Garage (meet one of the following) | [7 empty] | 0 | 3 | 10.4
|  | Awareness and Education (AE) | [6 empty] | (Minimum of 0 AE Points Required) |  |  |  |  | 0 | 3
| Education for |  |  | @ | 1.1 | Basic Operations Training (meet all of the following) | [7 empty] | Y/N | Prerequisite | 1.1
Homeowner and/or Tenants
|  |  |  | @ | 1.2 | Enhanced Training | [7 empty] | 0 | 1 | 1.2
[7 empty] | Brief description: | .
|  |  |  | @ | 1.3 | Public Awareness of LEED Home (meet three of the following) | [7 empty] | 0 | 1 | 1.3
| Education for |  |  | @ | 2 | Education of Building Manager (meet all of the following) | [7 empty] | 0 | 1 | 2.1
Building Mgrs
Performance Tiers: | [12 empty] | Project Totals: | 0 | 130
|  | Certified: 45 |  |  | Silver: 60 |  | Gold: 75 | Platinum: 90 |  |  |  |  | Performance Tier Achieved: | Not Certified
Project Checklist, Version 1.11 Addendum A
|  |  | for Homes |  |  | Prescriptive Approach for Energy and Atmosphere (EA) Credits
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Energy and Atmosphere (EA) | [6 empty] | (Minimum of 0 EA Points Required) |  |  |  |  | 0 | 38
| Insulation |  |  |  | 2.1 | Basic Insulation with Third-Party Inspection (meet all of the following, as appropriate) | [7 empty] | Y/N | Prerequisite | 2.1
|  |  |  | @ | 2.2 | Enhanced Insulation with Third-Party Inspection (meet all of the following, as appropriate) | [7 empty] | 0 | 2 | 2.2
| Air Infiltration |  |  |  | 3.1 | Third-Party Envelope Air Leakage Tested | [7 empty] | Y/N | Prerequisite | 3.1
[7 empty] | IECC climate region: | .
[7 empty] | Air leakage: | . | ACH 50
[5 empty] | 3.2 | Better Envelope | [7 empty] | 0 | 2 | 3.2
[5 empty] | 3.3 | OR Best Envelope | [7 empty] | 0 | 3 | 3.3
| Windows |  |  |  | 4.1 | Windows Meet ENERGY STAR for Windows (See Table) | [7 empty] | Y/N | Prerequisite | 4.1
[7 empty] | IECC climate region: | .
[7 empty] | Window U-Factor: | .
[7 empty] | Window SHGC: | .
[5 empty] | 4.2 | Windows Exceed ENERGY STAR for Windows by >/= 10% (See Table) | [7 empty] | 0 | 2 | 4.2
[5 empty] | 4.3 | OR Windows Exceed ENERGY STAR for Windows by >/= 20% (See Table) | [7 empty] | 0 | 3 | 4.3
| Duct Tightness |  |  |  | 5.1 | Third-Party Duct Leakage Tested (meet all of the following, as appropriate) | [7 empty] | Y/N | Prerequisite | 5.1
[7 empty] | Duct air leakage to outdoors: |  | CFM 25 / 100 SF conditioned floor area
[5 empty] | 5.2 | Greatly Reduced Distribution Losses (meet all of the following, as appropriate) | [7 empty] | 0 | 2 | 5.2
[5 empty] | 5.3 | OR Minimal Distribution Losses (meet all of the following, as appropriate) | [7 empty] | 0 | 3 | 5.3
| Space Heating and |  |  | @ | 6.1 | HVAC Design and Installation (meet all of the following, as appropriate) | [7 empty] | Y/N | Prerequisite | 6.1
| Cooling | Cooling |  |  |  |  | Type of equipment: |  | .
[7 empty] | Cooling efficiency |  | . | SEER / EER
[7 empty] | Heating efficiency |  | . | AFUE / HSPF / COP
[5 empty] | 6.2 | High-efficiency HVAC | [7 empty] | 0 | 2 | 6.2
[5 empty] | 6.3 | OR Very High-efficiency HVAC | [7 empty] | 0 | 4 | 6.3
| Water Heating |  |  | @ | 7.1 | Improved Hot Water Distribution System (meet one of the following) | [7 empty] | 0 | 2 | 7.1
[5 empty] | 7.2 | Pipe Insulation | [7 empty] | 0 | 1 | 7.2
[5 empty] | 7.3 | Improved Water Heating Equipment | [7 empty] | 0 | 3 | 7.3
[7 empty] | Type of equipment: |  | .
[7 empty] | DHW equipment efficiency: |  | . | EF / CAE
[7 empty] | % of annual load met by solar: |  | . | %
Project Checklist, Version 1.11 Addendum A continued
|  |  | for Homes |  |  | Prescriptive Approach for Energy and Atmosphere (EA) Credits
Detailed information on the measures below are provided in the companion document "LEED for Homes Rating System" | [13 empty] | Pts. | Max Pts. |  | Contractor | Green Rater
[14 empty] | Achieved | Available |  | Sign-off | Sign-off
|  | Energy and Atmosphere (EA) continued | [6 empty] | (Minimum of 0 EA Points Required) |  |  |  |  | 0 | 38
| Lighting |  |  |  | 8.1 | Install at Least Three ENERGY STAR labeled Lights (meet one of the following) | [7 empty] | Y/N | Prerequisite | 8.1
[5 empty] | 8.2 | Energy Efficient Fixtures and Controls (meet any of the following, 1/2 point each) | [7 empty] | 0 | 2 | 8.2
|  |  |  | @ | 8.3 | OR ENERGY STAR Advanced Lighting Package (meet all of the following) | [7 empty] | 0 | 3 | 8.3
| Appliances |  |  |  | 9.1 | ENERGY STAR Labeled Appliances (meet any of the following, see rating system for points) | [7 empty] | 0 | 2 | 9.1
[5 empty] | 9.2 | Very Efficient Clothes Washer(s) (meet all of the following) | [7 empty] | 0 | 1 | 9.2
| Renewable Energy |  |  | @ | 10 | Renewable Electric Generation System (1 Point / 5% Reduction) | [7 empty] | 0 | 10 | 10
[7 empty] | Type of renewable system: |  |  | .
[7 empty] | Annual electric load (based on HERS ref home): |  |  | . |  | kWh
[7 empty] | Annual electricity supplied by renewables: |  |  | . |  | kWh
[7 empty] | % of annual load supplied by renewables: |  |  | . | %
| Refrigerant |  |  | @ | 11 | Minimize Ozone Depletion and Global Warming Contributions (meet one of the following) | [7 empty] | 0 | 1 | 11
Management
By affixing my signature below, the undersigned does hereby declare and affirm to the USGBC that the LEED for Homes requirements, as specified in the LEED for Homes Rating System, have been met for the indicated credits and will, if audited, provide the necessary supporting documents.
|  |  |  | Responsible Party's Name | [6 empty] | Company
|  |  |  | Signature | [6 empty] | Date
By affixing my signature below, the undersigned does hereby declare and affirm to the USGBC that the required inspections and performance testing for the LEED for Homes requirements, as specified in the LEED for Homes Rating System, have been completed, and will provide the project documentation file, if requested.
|  |  |  | Rater's Name | [6 empty] | Company
|  |  |  | Signature | [6 empty] | Date
By affixing my signature below, the undersigned does hereby declare and affirm to the USGBC that the required inspections and performance testing for the LEED for Homes requirements, as specified in the LEED for Homes Rating System, have been completed, and will provide the project documentation file, if requested.
|  |  |  | Provider's Name | [6 empty] | Company
|  |  |  | Signature | [6 empty] | Date
Note on F8: The pull-down menus in this checklist require that macros be allowed. If you are unable to use the pull-down menus, check the security settings on Excel. ==> select 'Tools' pull-down menu ==> select 'Options' ==> select 'Security' tab ==> click on 'Macro Security' ==> click on 'Medium'

## MF calculator
Multi-family Home Complex Size Adjuster LEED for Homes
for Homes
Please insert the # of units in each building, and the average square footage for units with the corresponding bedroom
number. For example, if building 1 has three 2-bedroom units that are 1300, 1400, and 1500 square feet, insert "3" in
cell G10 and "1400" in cell H10. Please leave zeros or blanks where appropriate.
| 0-Bedroom |  | 1-Bedroom |  | 2-Bedroom |  | 3-Bedroom |  | 4-Bedroom |  | 5-Bedroom |  | Total
| # of units | Avg. ft2 | # of units | Avg. ft2 | # of units | Avg. ft2 | # of units | Avg. ft2 | # of units | Avg. ft2 | # of units | Avg. ft2 | Units
Building 1 | [12 empty] | 0
Building 2 | [12 empty] | 0
Building 3 | [12 empty] | 0
Building 4 | [12 empty] | 0
Building 5 | [12 empty] | 0
Building 6 | [12 empty] | 0
Building 7 | [12 empty] | 0
Building 8 | [12 empty] | 0
| Unit Adjustment |  | Unit Adjustment |  | Unit Adjustment |  | Unit Adjustment |  | Unit Adjustment |  | Unit Adjustment
Building 1 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 2 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 3 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 4 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 5 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 6 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 7 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Building 8 | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001 |  | 0.0001
Overall Adjustment
Building 1 | 0.0001
Building 2 | 0.0001
Building 3 | 0.0001
Building 4 | 0.0001
Building 5 | 0.0001
Building 6 | 0.0001
Building 7 | 0.0001
Building 8 | 0.0001

## Calcs (hidden)
No Bedrooms: | 4 | 4 | [5 empty] | 1 | 85 |  |  | S | 0
Floor Area: | 2400 | 2400 | [5 empty] | 1 | 85 | S | N
Neutral Threshold Values |  |  | 45 | 60 | 75 | 90 | 130 | 1 | 0 | 34 | 34
Current Threshold Values |  |  | 45 | 60 | 75 | 90 |  | 2 | 1 | 34 | 34
Current Adjustment |  |  | 0 | 0 |  |  |  | 3 | 2 | 34 | 34
Bedroom adjustment: |  | 2400 | [5 empty] | 4 | 3 | 34 | 34
[8 empty] | 5 | 4 | 34 | 33.5
[8 empty] | 6 | 5 | 33.5 | 33.5
[8 empty] | 7 | 6 | 33.5 | 33
[8 empty] | 8 | 7 | 33.5 | 33
[9 empty] | 8 | 33.5 | 32.5
[9 empty] | 9 | 33.5 | 32.5
[9 empty] | 10 | 33 | 32.5
[9 empty] | 11 | 33 | 32
[9 empty] | 12 | 32.5 | 32
| Floor Area | Bedrooms | Neutral | [5 empty] | 13 | 32.5 | 31.5
| 400 | 0 | 720 | [5 empty] | 14 | 32.5 | 31.5
| 450 | 1 | 870 | [5 empty] | 15 | 32 | 31
| 500 | 2 | 1430 | [5 empty] | 16 | 32 | 31
| 550 | 3 | 1950 | [5 empty] | 17 | 31.5 | 30.5
| 600 | 4 | 2400 | [5 empty] | 18 | 31.5 | 30.5
| 650 | 5 | 2600 | [5 empty] | 19 | 31 | 30
| 700 | 6 | 2800 | [5 empty] | 20 | 31 | 30
| 750 | 7 | 3000 | [5 empty] | 21 | 31 | 29.5
| 800 | 8 | 3200 | [5 empty] | 22 | 30.5 | 29.5
| 850 | 9 | 3400 | [5 empty] | 23 | 30.5 | 29
| 900 | 10 | 3600 | [5 empty] | 24 | 30 | 29
| 950 | 11 | 3800 | [5 empty] | 25 | 30 | 28.5
| 1000 | 12 | 4000 | [5 empty] | 26 | 29.5 | 28
| 1100 | 13 | 4200 | [5 empty] | 27 | 29.5 | 28
| 1200 | 14 | 4400 | [5 empty] | 28 | 29 | 27.5
| 1300 | 15 | 4600 | [5 empty] | 29 | 29 | 27.5
| 1400 | 16 | 4800 | [5 empty] | 30 | 28.5 | 27
| 1500 | 17 | 5000 | [5 empty] | 31 | 28.5 | 27
| 1600 | 18 | 5200 | [5 empty] | 32 | 28 | 26.5
| 1700 | 19 | 5400 | [5 empty] | 33 | 28 | 26
| 1800 | 20 | 5600 | [5 empty] | 34 | 27.5 | 26
| 1900 | [7 empty] | 35 | 27 | 25.5
| 2000 | [7 empty] | 36 | 27 | 25
| 2100 | [7 empty] | 37 | 26.5 | 25
| 2200 | [7 empty] | 38 | 26.5 | 24.5
| 2300 | [7 empty] | 39 | 26 | 24
| 2400 | [7 empty] | 40 | 26 | 24
| 2500 | [7 empty] | 41 | 25.5 | 23.5
| 2600 | [7 empty] | 42 | 25 | 23
| 2700 | [7 empty] | 43 | 25 | 23
| 2800 | [7 empty] | 44 | 24.5 | 22.5
| 2900 | [7 empty] | 45 | 24 | 22
| 3000 | [7 empty] | 46 | 24 | 21.5
| 3100 | [7 empty] | 47 | 23.5 | 21.5
| 3200 | [7 empty] | 48 | 23 | 21
| 3300 | [7 empty] | 49 | 23 | 20.5
| 3400 | [7 empty] | 50 | 22.5 | 20
| 3500 | [7 empty] | 51 | 22 | 19.5
| 3600 | [7 empty] | 52 | 22 | 19.5
| 3700 | [7 empty] | 53 | 21.5 | 19
| 3800 | [7 empty] | 54 | 21 | 18.5
| 3900 | [7 empty] | 55 | 20.5 | 18
| 4000 | [7 empty] | 56 | 20 | 17.5
| 4100 | [7 empty] | 57 | 20 | 17
| 4200 | [7 empty] | 58 | 19.5 | 16.5
| 4300 | [7 empty] | 59 | 19 | 16
| 4400 | [7 empty] | 60 | 18.5 | 15.5
| 4500 | [7 empty] | 61 | 18 | 15
| 4600 | [7 empty] | 62 | 17.5 | 14.5
| 4700 | [7 empty] | 63 | 17 | 14
| 4800 | [7 empty] | 64 | 16.5 | 13.5
| 4900 | [7 empty] | 65 | 16 | 12.5
| 5000 | [7 empty] | 66 | 15.5 | 12
| 5100 | [7 empty] | 67 | 15 | 11.5
| 5200 | [7 empty] | 68 | 14.5 | 11
| 5300 | [7 empty] | 69 | 14 | 10
| 5400 | [7 empty] | 70 | 13 | 9.5
| 5500 | [7 empty] | 71 | 12.5 | 9
| 5600 | [7 empty] | 72 | 12 | 8
| 5700 | [7 empty] | 73 | 11.5 | 7.5
| 5800 | [7 empty] | 74 | 10.5 | 6.5
| 5900 | [7 empty] | 75 | 10 | 6
| 6000 | [7 empty] | 76 | 9 | 5
| 6100 | [7 empty] | 77 | 8.5 | 4
| 6200 | [7 empty] | 78 | 7.5 | 3
| 6300 | [7 empty] | 79 | 7 | 2
| 6400 | [7 empty] | 80 | 6 | 0
| 6500 | [7 empty] | 81 | 5 | 0
| 6600 | [7 empty] | 82 | 4 | 0
| 6700 | [7 empty] | 83 | 3 | 0
| 6800 | [7 empty] | 84 | 2 | 0
| 6900 | [7 empty] | 85 | 0 | 0
| 7000 | [7 empty] | 86 | 0 | 0
| 7100 | [7 empty] | 87 | 0 | 0
| 7200 | [7 empty] | 88 | 0 | 0
| 7300 | [7 empty] | 89 | 0 | 0
| 7400 | [7 empty] | 90 | 0 | 0
| 7500 | [7 empty] | 91 | 0 | 0
| 7600 | [7 empty] | 92 | 0 | 0
| 7700 | [7 empty] | 93 | 0 | 0
| 7800 | [7 empty] | 94 | 0 | 0
| 7900 | [7 empty] | 95 | 0 | 0
| 8000 | [7 empty] | 96 | 0 | 0
| 8100 | [7 empty] | 97 | 0 | 0
| 8200 | [7 empty] | 98 | 0 | 0
| 8300 | [7 empty] | 99 | 0 | 0
| 8400 | [7 empty] | 100 | 0 | 0
8500
8600
8700
8800
8900
9000
9100
9200
9300
9400
9500
9600
9700
9800
9900
10000
10100
10200
10300
10400
10500
10600
10700
10800
10900
11000
11100
11200
11300
11400
11500
11600
11700
11800
11900
12000
12100
12200
12300
12400
12500
12600
12700
12800
12900
13000
13100
13200
13300
13400
13500
13600
13700
13800
13900
14000
14100
14200
14300
14400
14500
14600
14700
14800
14900
15000
15100
15200
15300
15400
15500
15600
15700
15800
15900
16000
16100
16200
16300
16400
16500
16600
16700
16800
16900
17000
17100
17200
17300
17400
17500
17600
17700
17800
17900
18000
18100
18200
18300
18400
18500
18600
18700
18800
18900
19000
19100
19200
19300
19400
19500
19600
19700
19800
19900
20000